## Slide 1: Dressings Materials
Supervised by : DR. Mohammed Assem
-Nessreen Khaldoun
-Shahd Ayoub
-Rama Hreseh
-Hamza ALgazawi

## Slide 2: Table of contents Introduction 01 Traditional wound dressing 02 Modern wound dressing 03 Principles 04
And definetion

## Slide 3
Definition
A dressing is a sterile pad or compresses applied to a wound to promote healing and protect the wound from further harm.
It's designed to be in direct contact with the wound, as distinguished from a bandage, which is most often used to hold a dressing in place.

## Slide 4
Desired characteristics of wound dressings:
Promote wound healing (maintain moist environment).
Conformability.
Control/stop bleeding
Non-allergenic and nonirritating.
Safety.
Enhance epidermal migration.
Promote angiogenesis and connective tissue synthesis.
Maintain appropriate tissue temperature to improve the blood flow to the wound bed.
Protect against bacterial infection and should be non-adherent to the wound and easy to remove after healing.
Non-traumatic removal.

## Slide 5
Dressings can be classified as primary or secondary.
primary dressing is placed directly on the wound and may provide absorption of fluids and prevent desiccation, infection, and adhesion of a secondary dressing.
A secondary dressing is one that is placed on the primary dressing for further protection, absorption, compression, and occlusion.

## Slide 6: Types of dressing
1- Traditional wound dressing
Non-occlusive products are indicated for only superficial, clean, and dry wounds with minimal exudates. They can also be used as secondary dressings.
- Advantages: simple and low cost.
- Disadvantages: They don’t provide moist environment and tend to be dry and painful when adhere to the wound
2- Modern wound dressing
Are semi-occlusive or occlusive, available in the form of films, foam, hydrogel, and hydrocolloids. These dressings act as a barrier against the penetration of bacteria into the wound environment.

## Slide 7
Woven and non woven fibres comes in Variable shapes an sizes, capable of absorbing discharge from the wound and afford some sort of protection against bacterial Infection. but requires frequent changing, they are usually inexpensive and widely available.
When to use?
On an infected wound.
On wounds that require wrapping or extra packing.
On injuries that require frequent dressing changes.
Injuries that are draining or will have excess discharge.
A- Gauze:
1- Traditional wound dressing :

## Slide 8
Are made up of cotton wool, cellulose, or polyamide materials. Cotton bandages can act as a secondary dressing while compression bandages provide good compressions for venous ulcers.
B- Bandages
C- Tulle
Dressing that is impregnated with paraffin oil is indicated for the superficial clean wound. These dressings are soothing and quick absorbent and are used with some secondary dressings.
**gauze and tulle dressing are used to cover the wound and restore its function underneath

## Slide 9: Complications
- Medical adhesive-related skin injuries (MARSI) .
MARSI occur when superficial layers of skin are removed by the medical dressing adhesive, resulting in threats to skin integrity, which include skin tears, or a reaction such as the formation of vesicles. They also cause pain, increase the risk of infection, may increase wound size, and delay healing.
skin irritation.
The fluid is absorbed, not eliminated, so there’s a high risk of further contamination or infection.
There’s a high chance of abscesses forming, which can stop the wound from healing.
They form blisters when applied over a wound.

## Slide 10: A- Semi-permeable film dressing
Recommended for epithelialization wound, superficial wound with low exudates.
On IV site.
Lacerations.
Abrasions.
Second-degree burns.
On the surgical incision site.
It allows the movement of water vapor, oxygen, and carbon dioxide into and out of the dressing.
Highly elastic and flexible.
The dressing is transparent, wound inspection is possible without removing the dressing.
Only used in superficial wounds with a low amount of discharge (limited absorption capacity).
When to use transparent film wound dressing?
2- Modern wound dressing

## Slide 11: B- Semi-permeable foam dressing
Pressure ulcers
Minor burns
Skin grafts
Diabetic ulcers
This dressing is made up of foam with hydrophilic properties and an outer layer of hydrophobic properties with adhesive borders
The hydrophobic layer protects the wound from outside fluid, contamination but allows gaseous exchange and water vapor
The inner hydrophilic layer can absorb a moderate amount of discharge from the wound
Useful for wounds with high amounts of discharge and wounds with granulation tissue
Requires frequent changing
Not suitable for dry wounds
When to use a foam wound dressing?

## Slide 12: C- Hydrogel dressing
Are insoluble hydrophilic material made from synthetic polymers.
The high-water content of hydrogels (70-90 %) helps granulation tissues and epithelium in a moist environment.
Provides easy application and removal after the wound is healed without any damage.
Nonirritant, nonreactive with biological tissue, and permeable to metabolites.
Are suitable for all four stages of wound healing.
When to use a hydrogel dressing ?
12
Dry chronic wounds
Necrotic wounds
Pressure ulcers
Burn wounds.

## Slide 13: D- Hydrocolloid dressings
Pressure sores
Minor burn wounds
Traumatic wounds
For pediatric wound care management, as they do not cause pain on removal
Are among the most widely used interactive dressings and consist of two layers, the inner colloidal layer, and the outer water-impermeable layer.
Permeable to water vapor but impermeable to bacteria.
Have the properties of debridement and absorb wound exudates.
They work by creating moist conditions to help speed up healing time
When contact with the wound exudate they form gels and provide a moist environment that helps in the protection of granulation tissue by absorbing and retaining exudates.
When to use a hydrocolloid wound dressing?

## Slide 14: Principles
Practice strict aseptic technique to prevent infection
All articles should be disinfected thoroughly to make sure that they are free from pathogens
Wash hands before and after the procedure
Instruments used for one dressing can not be used for another until they have been re-sterilized
Use mask , sterile gloves and gowns for large dressing to minimal the wound contamination

## Slide 15
Create a sterile field around the wound by spreading sterile towel
Avoid talking , coughing and
sneezing when the wound is opened
Cleaning of the wound should be done from the cleanest area to the less clean area

## Slide 16
When dressing the wound keep the wound edges as near as possible to promote healing
Before doing the dressing inspect the wound for any complications such as dehiscence and evisceration
Give an analgesic prior to the painful dressings