## Slide 1: Surgical Drains
Presented by:
  Afnan bassam
  Yousef albojoq
  Mohammed habib

## Slide 2: What is the surgical drain ?
Tubes used to remove pus, blood or other fluid, preventing it from accumulating in the body.
Drains inserted after surgery don't result in faster wound healing but are sometime necessary to drain body fluid which may accumulate and in itself become a focus of infection.
The type of drainage system inserted is based on the needs of patient, type of surgery, type of wound, amount of drainage expected and surgeon preference

## Slide 3: Indications :
Therapeutic
Diagnostic
Prophylactic
Monitoring
Palliative

## Slide 4: Classification of Drains:

## Slide 5: OPEN VS CLOSED
OPEN
Drains empty directly to the exterior into the overlying wound dressing or stoma bag.(connect to the outer atmosphere) It is often difficult to measure the effluent Increased risk of infection .
E.G: Corrugated drain. Penrose drain. Gauze wick drain
CLOSED
Those drain externally into sealed container or reservoir. Lower risk for infection. Easier to care. Accurate assessment of fluid drainage.
E.G: Redivac (hemovac) drain. Jackson pratt drain. Chest drain .

## Slide 6: Closed VS Open

## Slide 7: Active VS Passive
Maintained under suction force, regardless of the pressure difference existence.
There are two types of active drains:
• Closed (Jackson-pratt, hemovac drain)
• Open (Sump drain)
Active drains: (continuous negative pressure- High/Low)

## Slide 8
Advantage:
Disadvantage:
less risk of infection
can be used anywhere ( not dependent on gravity)
Causes tissue injury due to high negative pressure
Prevent fistula closure
Drain clogged by tissue
Active drains

## Slide 9: Passive drain :
Passive drains have no suction.
Drains by capillary action, pressure gradient or gravity
Passive drains rely on gravity, body movement, pressure differentials, or overflow to move fluid or gas There are two types of passive drains:
Closed (NG tube, Under water seal drain)
Open( Penrose, corrugated drain, gauze wick drain)

## Slide 10: Passive drains
Disadvantage:
less commonly obstructed.
Less injury
Gravity dependent affects location of drain
Higher risk of infection
Advantage:

## Slide 12: Open passive drains
Gauze wick:
Usage:
  Discharging sinuses
  Abscess cavity

## Slide 13: Open passive drains
Corrugated drains

## Slide 14: Open passive drains
Penrose drains :
It is empties into an absorptive dressing material. Soft and flexible.

## Slide 15: Open passive drains
Setons drains :
Used for fistulas.

## Slide 16: Open passive drains
Yates drains:
Parallel tubes, act by capillary action

## Slide 18: Closed passive drains:
Robinson drains:
Used for anticipated fluid collection into a bag like to prevent seroma formation after a surgery.
e.g. pelvic surgery, abdominal surgery.

## Slide 19: Open active drains:
Sump drains:
1st lumen for suction drainage.
2nd lumen is air vent to prevent the blockage in the suction lumen

## Slide 20: Closed active drains:
Redivac drains:
Closed suction drainage system depends on negative pressure.
Used for Drainage of the wound to prevent anticipated collection.

## Slide 21: Closed active drains:
Jackson pratt drains:
Used for removing fluids that build up in an area of the body after surgery, depending on negative pressure.
-Common uses in:
Abdominal surgery.
Mastectomy.
Thoracic surgery.

## Slide 22: Complications of Drains:
-pain
-irritation
-bleeding
-displacement
-perforated or injury to adjacent structures
-OCCLUSION
-infection
-leaking around drain
-loss of fluid , electrolytes and proteins

## Slide 23: Removal of drains
Generally, drains should be removed once the drainage has stopped or output becomes less than about 25 ml/day . Drains can be 'shortened' by withdrawing them gradually (typically by 2 cm per day) and so, in theory, allowing the site to heal gradually

## Slide 24: Special Drain

## Slide 25: T-tube
After exploration of the common bile duct, a T-tube
may be inserted into the duct which allows bile to drain
while the sphincter of Oddi is in spasm postoperatively.
Once the sphincter relaxes, bile drains normally down the bile duct and into the duodenum. To assist choleresis, it is often advisable to convert the lumen of the limb of the T into a gutter, which also facilitates removal.

## Slide 26: Nasogastric tube:
(NGT):
is a flexible tube that is inserted through the nose, passed down the esophagus, and positioned in the stomach. It is used to deliver substances directly into the stomach, bypassing the need for oral intake. The tube can remain in place for short-term use and provides a direct route for liquids, nutrients, or medications

## Slide 27: NG tube is commonly used for multiple Indications:
Diagnostic
indications
Therapeutic
indications
Feeding purposes
Medication delivery
Removal of
Gastric
contents

## Slide 28: Indications for GI intubation:
Diagnostic indications for NG intubation include the following:
Evaluation of upper gastrointestinal (GI) bleeding (ie,
presence, volume)
Aspiration of gastric fluid content
Identification of the esophagus and stomach on a chest
radiograph
In babies coughing, choking or a baby turning blue when
trying to feed
Administration of radiographic contrast to the GI tract
Identification of cancer cells

## Slide 29: Indications for GI intubation:
Relief of symptoms and bowel rest in the setting of small-bowel obstruction
Gastric decompression, including maintenance of a decompressed state after endotracheal intubation, often via the oropharynx.
Aspiration of gastric content from recent ingestion of toxic material
Administration of medication
Feeding
Bowel irrigation
NG tube can be kept following corrosive ingestion for the development of a
tract in the esophagus that subsequently can be used for balloon dilatation
Therapeutic indications for NG intubation include the following:

## Slide 30: Indications for GI intubation:
Feeding purposes: NG tubes should only be used in people who are malnourished or at risk of malnutrition and have:
Inadequate or unsafe oral intake, and A functional, accessible gastrointestinal tract.
Examples where both stipulations are met include:
Neurological conditions causing dysphagia/unsafe swallow such as stroke.
Lowered consciousness level such as coma or PVS
Following upper gastrointestinal surgery where a high anastomosis must be protected in the initial post-operative period
Occasionally, NG feeding is used to prepare malnourished patients for major abdominal surgery in the pre-operative period

## Slide 31: Indications for GI intubation:
Medication delivery: NG tubes can also be used to deliver certain medications directly into the stomach of patients with the same stipulations as feeding.
Removal of gastric contents: NG tubes may also be used for removal of gastric contents. Example would include:
Aspirating ingested toxic material

## Slide 32: contraindications for NG intubation
Absolute contraindications for NG intubation include the
following:
Severe maxillofacial trauma and / or basilar skull fracture
Esophageal stricture
Nasopharyngeal or esophageal obstruction
Esophageal abnormalities such as diverticulum

## Slide 33: contraindications for NG intubation
Relative contraindications for NG intubation include the
following:
Coagulation abnormality
Recent nasal surgery
Anastomosis in the esophagus and the stomach - Blind NG tube insertion has
traditionally been contraindicated in certain procedures involving these anastomoses because of the fear of damage to the staple line; however, in an animal study of blind
NGT advancement after sleeve gastrectomy performed via a flexible gastroscope,
Fabian et al observed no sign of trauma to the staple line and no
significant mucosal injury (there were several small petechiae of the gastric mucosa, none of which were of full thickness or penetrated the mucosa)

## Slide 34: Insertion of an NG tube:
Assessment: Who needs nasogastric intubation
Neuromuscular impairment
Surgery patients
Ventilated patients
Patients who are unable to maintain adequate oral intake

## Slide 35: Patient Medical History (patency of nares)
Ask about history of:
Nosebleeds
Nasal surgeries
Deviated septum
Anticoagulation Tx
Don’t forget to also assess:
Patient’s
mental status
Patient’s gag
reflex
Bowel sounds (consider a thorough physical examination)

## Slide 36: Equipment Required:
Nasogastric tube
﻿﻿Emesis basin
﻿﻿Nonsterile gloves and gown
﻿﻿Water-soluble lubricant
﻿﻿Local anesthetic (e.g., viscous lidocaine, topical benzocaine, lidocaine 2% or 4% for nebulization
﻿﻿Topical vasoconstrictor (e.g., phenylephrine, oxymetazoline)
﻿﻿Tape or commercial NG tube holder
﻿﻿Syringe
﻿﻿Cup of water and straw
﻿﻿Suction tubing
pH indicator strips

## Slide 37: Implementation:
Wash hands and put on clean non sterile gloves
Lubricate the tube
Hand the patient a glass of water
Gently insert the tube through the nostrils to the back of throat (posterior
nasopharynx) . Aim back and down toward the ear.
Ask the patient to flex their head toward the chest after the tube has passed
through the nasopharynx.
Emphasize the need to breathe from the mouth and swallowing during the
procedure ( swallowing makes it easier to pass the tube through the oropharynx)
Advance the tube each time the patient swallows until the desired length has been reached ( don’t force the tube in) .
then check for the placement by either X-ray or aspiration ( test for pH if < 4 then correct gastric placement).

## Slide 38: Complications of nasogastric intubation:
Abdominal cramping.
Increase in abdominal girth(swelling).
Diarrhea.
Nausea & Vomiting.
Nasopharyngeal trauma with or without hemorrhage
Sinusitis and sore throat
Pulmonary aspiration (If the tube lumen got blocked)
Traumatic esophageal or gastric hemorrhage or perforation
Intracranial or mediastinal penetration (very rare)

## Slide 39: Evaluation:
Observe the patient to determine
the response to the procedure.
Persistent gagging or coughing is alarming:
-Prolonged intubation and stimulation of the gag reflex can result in
vomiting and aspiration
-Coughing may indicate presence of tube in the airway
Documentation:
-Size of tube , which nostril and patient response.
-Record length of tube from the nostril to the end of the tube

## Slide 40: Responsibilities:
Identify the signs and
symptoms of inadvertent
respiratory migration
Identify conditions that increase the
risk for spontaneous tube dislocation
from the intended position
(retching, vomiting, coughing)

## Slide 41: References:
Cleveland Clinic. "Nasogastric Tube." Cleveland Clinic, Last reviewed December 15, 2021.
"Nasogastric Intubation or Intestinal Intubation." MSD Manuals, Last reviewed March 2023.
“Nasogastric Tube Insertion Clinical Skills Guidance” University of Glasgow.
Davis, John L., and Wilfredo A. Ceballos. "Anemia." Medscape. Last modified September 25, 2023.

## Slide 42
FOLEY'S CATHETER

## Slide 43
Definition:
Foley's catheter: (AKA indwelling catheters) is a flexible tube that is passed through the urethra and into bladder. It facilitates direct drainage of the urinary bladder.
About 15-25% of hospitalized patients use catheters.
Mechanism: A tube is introduced into the urinary meatus and passes through the urethra until the distal end resides in the bladder of the patient. Then, A balloon is inflated with sterile water which effectively anchors and seals off the bladder.

## Slide 44: Types:
Two-way Foley catheter: This type of catheter has two
channels, one for inflating the balloon and one for draining
urine.
Three-way Foley catheter: This type of catheter has three
channels, one for inflating the balloon, one for draining urine,
and one for irrigating the bladder.

## Slide 45: Composition:
Foley catheters can be made from latex or non-latex materials. Latex catheters offer advantages such as flexibility and durability, making them suitable for many patients. However, individuals with latex allergies may experience adverse reactions when exposed to latex proteins present in these catheters. In such cases, non-latex alternatives, typically made from silicone are recommended to ensure patient safety and prevent allergic reactions.

## Slide 46: Composition:
Latex catheters: made from natural rubber latex. They are known for their flexibility, durability, and cost-effectiveness. The latex material allows for easy insertion and removal, providing comfort for patients.
Silicone catheters: made from a soft, medical-grade silicone material. They are known for their biocompatibility, which reduces the risk of allergic reactions and irritation. The smooth surface of silicone catheters minimizes friction during insertion and removal, offering enhanced patient comfort.

## Slide 47: General view:
The relative size of an indwelling urinary catheter is described using French units (Fr).
1 Fr is equivalent to 0.33 mm
The most common sizes are 10 Fr to 28 Fr.
Foley catheters are usually color coded by size.

## Slide 48
Foley catheters are usually color
coded by size

## Slide 49: Indications:
used to assist people who cannot urinate on their own.
Used for is urinary retention patient as a relieving procedure.
monitoring urine output for critically ill persons.
managing urination during surgery.
Providing end-of-life care.
Can be used to measure intra-abdominal pressure.

## Slide 50: uses of Foley's catheter:
-acute urinary retention -Kidney bladder & stone
-kidney disease patients -Enlarged prostate (BPH)
-urine incontinent patients -blood clot
-immobilized patients -tumors

## Slide 51: Complications :
tendency to contribute to urinary tract infections(UTI).because bacteria can travel up from catheter to bladder where the urine can become infected.
If the balloon is opened before the Foley’s catheter is completely inserted in to the bladder : bleeding , damage and even rupture of the urethra.
Clotting of the catheter.
Urine Leakage.
scarring . (for long-term usage)

## Slide 52: Complications :
Bladder spasms , feel like stomach cramps. The pain is from the bladder trying to squeeze out the balloon.
bladder stones , (for long-term usage).
narrowing of the urethra because of repeated catheter use.
bladder cancer (for long-term usage).

## Slide 53: The procedure:
Explain the steps and the reason for the procedure to the patient .
Privacy.
Catheter equipment ( urinary catheterization kit is sterile , contain the Foley catheter, drainage bag. lubricant ,10 cc syringe with sterile water , sterile gloves , iodine , sterile gauze and sterile drape.
Never use normal saline to inflate the balloon. Why??
normal saline usage can result in crystal formation ending up in blockage of balloon channel. It can rupture the balloon or damage the bladder

## Slide 54: Anatomy review:
The male urethra is a narrow fibromuscular tube that conducts urine and semen from the bladder and ejaculatory ducts, respectively, to the exterior of the body.
The male urethra is a single structure, it is composed of a heterogeneous series of segments: prostatic, membranous, and spongy

## Slide 55: Male catheterization:
the male urethra is long compared
to the female urethra .
the catheter is placed while the
patient is lying down.
if there is foreskin , it is retracted to
its maximal level

## Slide 56: Anatomy review:
The female urethra is a simple tubular structure that has one purpose only , which is conducting urine from the bladder to the outside of the body.
It is a short structure without complex investing structures; thus, it is less prone to intrinsic pathology than the male urethra

## Slide 57: female catheterization:
the female urethra is short compared to male urethra , it is located above the vagina in the pelvis .
insertion of the catheter is facilitated by having the patient lie down on her back with her buttocks at the edge of the bed .
adequate exposure of the urethra is obtained by elevating the legs in lithotomy position
finally the labia are separate
to expose the urethra

## Slide 58: The doctor or medical assistant will insert the Foley's catheter in this manner:
The urethra and the surrounding areas are cleaned with a cotton ball dipped in antiseptic solution. Beginning at the urethra,
the cleansing is performed in a circular motion,
moving outward to the surrounding areas.
A Foley catheter, lubricated with water soluble jelly, is inserted into the bladder through the urethra. .once the catheter is passed, the balloon is in the bladder. It is then slowly inflated with about 10cc of water using a syringe. Inflating the balloon should not be painful. .at this time, urine if present in the bladder should flow back through the catheter and into the steriledrainage bag.

## Slide 59: Urinary catheter contraindication:
Traumatic injure
boggy prostate
perineal hematoma
urethral laceration
Acute bacterial prostatitis
patient Refusal

## Slide 60: Drainage bag:
It’s a bag collect urine from the body, has two types (Leg or Night)bag.
Drainage bag has a scale for urine output, used to indicate if there’s urogenital or abdominal problem.
removal of the catheter and bag >>>The catheter balloon is deflated by inserting a syringe into the catheter valve and pulling back on the syringe. the pressure in the balloon will cause the water to flow into the syringe. once the balloon is empty the Foley catheter can be pulled out.

## Slide 61: References :
Surgical Recall 9th Edition 2022 .
Urethral Catheterization in Men, MEDSCAPE 2021.
Urethral Catheterization in Women , MEDSCAPE 2021.
Indwelling Urinary Catheter Insertion and Maintenance, Centers for Disease Control and Prevention.
student manual foley catheters , Alabama Department of Public Health.
Urinary catheter risks. HSE 2024.
Urinary catheter. NHS 2023.

## Slide 62
Thank you